## Lot(1)Telecommunication
၂၀၂၄-၂၀၂၅ ခုနှစ် Lot(1) Telecommunication Infrastructure တည်ဆောက်တပ်ဆင်ခြင်းအတွက် လိုအပ်သော Hardware များနှင့် License များ
စဉ် | အမျိူးအစား/Specification | Qty (Nos) | Compliance (yes,no,partial) | Remarks
Branch Offices Hardware, License and Services
1 | Security Firewall (a) Meraki MX68CW LTE & 802.11ac Router/Security Appliance -WW (Hardware) | 30
| (b) Rack Cabinet (6U 600mmx600mm Server Rack Cabinet) | 30
| (c) UPS 1250 KVA | 30
2 | Power Cord Makari AC Power Cord for MX and MS (UK Plug), C13,BS 1363, 2.5m | 30
3 | Meraki MX68CW Advanced Security License and Support, 1 YR | 30
4 | 24 Port Switch Catalyst 1000 24port GE, 4x1G SFP | 30
5 | SMARTnet Service/License SNTC-8X5XNBD Catalyst 1000 24port GE, 4x1G SFP , LANBa, 1 YR AC Power Cord (UK), C13, BS 1363, 2.5m | 30
Other Accessories
6 | Networking, Electrical Wiring and Cabling Equipment များအား ရုံးခွဲ(၃၀) ရုံးတွင် တပ်ဆင်ရန် - Network Cable Cat 6 Box (305M ပါ Box ၃၀ ခု) - Network Face Plate (15 x 30 = 450 Nos) - Cat 6 Female Jack (15 x 30 = 450 Nos) - Network RJ45 Head with boot (45 x 30 = 1350 Nos) - 2.5mm Electrical Cable (1 x 30 = 30 Box) - 1.5mm Electrical Cable (30 x30 = 1500 Inches) - Electrical Multi Socket (15 x 30 = 450 Nos) - Trunking and Accessories for Network (1 x 30 = 30 Lot) - Trunking and Accessories for Electrical Points (1 x 30 = 30 Lot) | 30
Professional Services and Maintenance and Operation
7 | Professional Services (Installation, configuration, Implementation, Training) Networking, Electrical Wiring and Cabling Equipment for all points (လုပ်ငန်းဆောင်ရွက်မည့် တည်နေရာ (၃၀) အတွက် အပြည့်အဝ တာဝန်ယူ တပ်ဆင်ပေးရပါမည်။) | 1
8 | Maintenance and Operation (Yearly) | 1 Year
Memory Extension
9 | Vmware Esxi Host Memory Extension (32 GB RDIMM DR x 4) 3200(8GB) | 24
Full name and surname of authorized supplier representative:
Authorized supplier representative signature :
Date: